## RH
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Redelinghuys - Municipal office
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 6.63 | 6.63 | 6.51 | 6.98 | 6.97 | 6.6
Conductivity | ≤170 | 127 | 112 | 116 | 115 | 113 | 118
Turbidity | ≤5 | 0.96 | 0.57 | 0.57 | 0.31 | 0.56 | 0.42
Colour | ≤15 | 9 | 5 | 11 | 5 | 9 | 7
Calcium | N/A | 23.8 | 21.8 | 22.3 | 31.9 | 19.4 | 18.5
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 844 | 732 | 754 | 750 | 740 | 782
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 31 | 29.4 | 30.5 | 39.7 | 25.7 | 30.6
Aluminium | ≤300 | 23.8 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Redelinghuys - WTW Final
Date
| Range | 2023-07-06: 2023-07-20; 2023-07-20: 2023-08-17; 2023-08-03: 2023-09-21
pH | ≤5 - ≤9.7 | 2023-07-06: 6.79; 2023-07-20: 8.19; 2023-08-03: 6.72
Conductivity | ≤170 | 2023-07-06: 113; 2023-07-20: 115; 2023-08-03: 117
Turbidity | ≤5 | 2023-07-06: 0.47; 2023-07-20: 0.58; 2023-08-03: 0.48
Colour | ≤15 | 2023-07-06: 10; 2023-07-20: 11; 2023-08-03: 5
Calcium | N/A | 2023-07-06: 20.3; 2023-07-20: 38.4; 2023-08-03: 18
Chloride | ≤300 | bar: 2023-07-06 to 2023-08-03
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-08-03
Dissolved solids | ≤1200 | 2023-07-06: 730; 2023-07-20: 748; 2023-08-03: 770
Iron | N/A | bar: 2023-07-06 to 2023-08-03
Magnesium | N/A | 2023-07-06: 29.3; 2023-07-20: 40.2; 2023-08-03: 29.2
Aluminium | ≤300 | 2023-07-06: <40; 2023-07-20: <40; 2023-08-03: <40
E.coli | ≤1 | 2023-07-06: Not Detected; 2023-07-20: Not Detected; 2023-08-03: Not Detected

## EK
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Eendekuil - Municipal Office
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 9.72 | 9.98 | 9.97 | 9.62 | 9.79 | 9.5
Conductivity | ≤170 | 13 | 8 | 8.2 | 8.1 | 7.8 | 79
Turbidity | ≤5 | 2.9 | 2.5 | 1.8 | 1.3 | 1.8 | 1.8
Colour | ≤15 | <4 | 6 | 4 | <4 | <4 | 6
Calcium | N/A | 7.1 | 7.4 | 8.1 | 10.8 | 6.1 | 9.1
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 82 | 50 | 50 | 50 | 50 | 514
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | <1 | <1 | <1 | <1 | <1 | <1.1
Aluminium | ≤300 | <40 | <40 | 44 | 46 | <40 | 46
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Eendekuil - WTW Final
Date
| Range | 2023-07-06: 2023-07-20; 2023-07-20: 2023-08-17; 2023-08-03: 2023-09-21
pH | ≤5 - ≤9.7 | 2023-07-06: 11.93; 2023-07-20: 9.66; 2023-08-03: 9.65
Conductivity | ≤170 | 2023-07-06: 97.7; 2023-07-20: 8.8; 2023-08-03: 84.4
Turbidity | ≤5 | 2023-07-06: 85.7; 2023-07-20: 1.5; 2023-08-03: 2.3
Colour | ≤15 | 2023-07-06: 10; 2023-07-20: 11; 2023-08-03: <4
Calcium | N/A | 2023-07-06: 272; 2023-07-20: 12.3; 2023-08-03: 9.2
Chloride | ≤300 | bar: 2023-07-06 to 2023-08-03
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-08-03
Dissolved solids | ≤1200 | 2023-07-06: 658; 2023-07-20: 54; 2023-08-03: 548
Iron | N/A | bar: 2023-07-06 to 2023-08-03
Magnesium | N/A | 2023-07-06: 3.3; 2023-07-20: <1; 2023-08-03: <1.1
Aluminium | ≤300 | 2023-07-06: 2389; 2023-07-20: <40; 2023-08-03: 47
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## PB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Piketberg - Community Centre
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.33 | 7.78 | 7.15 | 7.04 | 7.51 | 7.06
Conductivity | ≤170 | 63.5 | 66.8 | 70.6 | 62.9 | 45.3 | 44.8
Turbidity | ≤5 (A) ≤1 (O) | 3.4 | 0.76 | 0.55 | 0.76 | 2.8 | 1.5
Colour | ≤15 | <4 | <4 | 12 | 6 | 11 | <4
Calcium | N/A | 17.7 | 18.2 | 18.3 | 22 | 9.5 | 11.2
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 416 | 442 | 452 | 410 | 300 | 302
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 14.9 | 15.4 | 17 | 19.1 | 6.8 | 8.5
Aluminium | ≤300 | 114 | <40 | <40 | 55 | 52 | 54
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - WTW Final
Date
| Range | 2023-07-06: 2023-07-20; 2023-07-20: 2023-08-03; 2023-08-03: 2023-09-21
pH | ≤5 - ≤9.7 | 2023-07-06: 7.1; 2023-07-20: 7.7; 2023-08-03: 6.68
Conductivity | ≤170 | 2023-07-06: 75.2; 2023-07-20: 128; 2023-08-03: 37.7
Turbidity | ≤5 (A) ≤1 (O) | 2023-07-06: 3.4; 2023-07-20: 16; 2023-08-03: 1.3
Colour | ≤15 | 2023-07-06: 5; 2023-07-20: <4; 2023-08-03: 5
Calcium | N/A | 2023-07-06: 16.9; 2023-07-20: 24.7; 2023-08-03: 8.8
Chloride | ≤300 | bar: 2023-07-06 to 2023-08-03
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-08-03
Dissolved solids | ≤1200 | 2023-07-06: 500; 2023-07-20: 840; 2023-08-03: 262
Iron | N/A | bar: 2023-07-06 to 2023-08-03
Magnesium | N/A | 2023-07-06: 18.2; 2023-07-20: 30.5; 2023-08-03: 6.8
Aluminium | ≤300 | 2023-07-06: 59; 2023-07-20: 241; 2023-08-03: <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Elektriesstoor
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.25 | 7.51 | 6.9 | 7.27 | 7.3 | 7.03
Conductivity | ≤170 | 53.9 | 46.9 | 72.1 | 55.3 | 38.8 | 44.8
Turbidity | ≤5 (A) ≤1 (O) | 0.56 | 1.4 | 0.58 | 0.57 | 1.8 | 1.6
Colour | ≤15 | bar: 2023-07-06 to 2023-09-21
Calcium | N/A | 22 | 22.1 | 18.4 | 28.2 | 14.7 | 11.3
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 366 | 300 | 470 | 380 | 266 | 298
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 10.3 | 10.2 | 17 | 16.7 | 4.8 | 8.6
Aluminium | ≤300 | <40 | <40 | <40 | 95 | <40 | 53
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Municipal offices
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.52 | 7.57 | 7.5 | 7.45 | 7.25 | 6.8
Conductivity | ≤170 | 52 | 45 | 56.9 | 47.8 | 34 | 37.8
Turbidity | ≤5 (A) ≤1 (O) | 0.44 | 1.1 | 0.59 | 0.44 | 0.74 | 1.9
Colour | ≤15 | <4 | <4 | <4 | <4 | 4 | <4
Calcium | N/A | 25.3 | 24.7 | 25.9 | 36.1 | 18.6 | 8.7
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 362 | 298 | 378 | 310 | 220 | 266
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 7.7 | 8.8 | 12 | 13.3 | 3.2 | 6.9
Aluminium | ≤300 | <40 | <40 | <40 | 62 | <40 | 40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## AU
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Aurora - Municipal office
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 6.72 | 6.77 | 6.81 | 6.84 | 6.8 | 6.04
Conductivity | ≤170 | 135 | 141 | 147 | 144 | 142 | 157
Turbidity | ≤5 | 0.66 | 0.39 | 0.34 | 1.4 | 0.52 | 0.62
Colour | ≤15 | <4 | <4 | <4 | <4 | <4 | 7
Calcium | N/A | 18.9 | 19.3 | 20.7 | 31.9 | 18.2 | 16.6
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 900 | 926 | 960 | 944 | 930 | 1044
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 36.9 | 39.3 | 41.2 | 51.8 | 34.3 | 43.9
Aluminium | ≤300 | <40 | <40 | <40 | 57 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Aurora - WTW Final
Date
| Range | 2023-07-06: 2023-07-20; 2023-07-20: 2023-08-17; 2023-08-03: 2023-09-21
pH | ≤5 - ≤9.7 | 2023-07-06: 7.24; 2023-07-20: 6.77; 2023-08-03: 5.72
Conductivity | ≤170 | 2023-07-06: 137; 2023-07-20: 141; 2023-08-03: 152
Turbidity | ≤5 | 2023-07-06: 0.64; 2023-07-20: 0.65; 2023-08-03: 1.6
Colour | ≤15 | bar: 2023-07-06 to 2023-08-03
Calcium | N/A | 2023-07-06: 33.2; 2023-07-20: 30.6; 2023-08-03: 14.8
Chloride | ≤300 | bar: 2023-07-06 to 2023-08-03
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-08-03
Dissolved solids | ≤1200 | 2023-07-06: 900; 2023-07-20: 940; 2023-08-03: 1040
Iron | N/A | bar: 2023-07-06 to 2023-08-03
Magnesium | N/A | 2023-07-06: 30.9; 2023-07-20: 53.6; 2023-08-03: 43.3
Aluminium | ≤300 | 2023-07-06: <40; 2023-07-20: <40; 2023-08-03: <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## VD
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Velddrif - Civic centre
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 6.95 | 7.48 | 7.46 | 7.34 | 7.61 | 6.7
Conductivity | ≤170 | 78 | 46.1 | 71.7 | 74.2 | 75.2 | 60.8
Turbidity | ≤5 | 0.35 | 0.48 | 1.1 | 0.45 | 0.57 | 0.64
Colour | ≤15 | <4 | <4 | 20 | 8 | 5 | 8
Calcium | N/A | 24.5 | 20.1 | 21.8 | 29.9 | 17.6 | 15.3
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 510 | 300 | 474 | 490 | 500 | 400
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 14.7 | 8.5 | 16 | 22.6 | 13.4 | 12.2
Aluminium | ≤300 | <40 | 53 | 127 | 59 | <40 | 78
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - Municipal Office
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.02 | 7.68 | 8.13 | 6.96 | 8.01 | 8.56
Conductivity | ≤170 | 70.3 | 96.3 | 74.2 | 77 | 77 | 63.1
Turbidity | ≤5 | 0.34 | 0.32 | 5.6 | 0.82 | 0.6 | 0.56
Colour | ≤15 | 4 | <4 | 5 | 10 | 5 | 5
Calcium | N/A | 23.8 | 30.3 | 23.7 | 31.4 | 18.7 | 16.2
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 460 | 640 | 480 | 500 | 502 | 410
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 13.2 | 22.1 | 15.9 | 23.4 | 13.5 | 12.6
Aluminium | ≤300 | <40 | <40 | 261 | 53 | <40 | 62
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - WTW Final/Reservoir
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.3 | 7.34 | 7.57 | 6.74 | 7.54 | 7.75
Conductivity | ≤170 | 77 | 41.7 | 73.5 | 80.3 | 73.3 | 59.8
Turbidity | ≤5 | 0.35 | 0.41 | 1.3 | 0.53 | 1 | 0.51
Colour | ≤15 | 5 | <4 | 9 | 6 | 5 | 5
Calcium | N/A | 24 | 18.8 | 20.8 | 31.5 | 18.5 | 14.9
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 500 | 274 | 464 | 508 | 478 | 400
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 14.7 | 7.4 | 15.4 | 23.5 | 13.7 | 12.1
Aluminium | ≤300 | <40 | <40 | 99 | 45 | 66 | 75
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## PV
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Porterville - Municipal office
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 6.77 | 9.39 | 7.02 | 9.85 | 9.74 | 8.34
Conductivity | ≤170 | 6.3 | 7.7 | 5.8 | 9.8 | 8.1 | 64.9
Turbidity | ≤5 | 0.82 | 0.94 | 0.84 | 0.59 | 0.7 | 1.3
Colour | ≤15 | 8 | 5 | 8 | <4 | 6 | 6
Calcium | N/A | 3.1 | 7.1 | 3.3 | 15.7 | 6.8 | 6.9
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 42 | 48 | 40 | 64 | 52 | 422
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | <1 | <1 | <1 | <1 | <1 | <1.1
Aluminium | ≤300 | <40 | 58 | 68 | 102 | 60 | 49
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - Library
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.22 | 9.4 | 7.76 | 9.65 | 9.71 | 9.54
Conductivity | ≤170 | <5 | 7.4 | 6.2 | 9.1 | 7.9 | 82.2
Turbidity | ≤5 | 0.87 | 0.91 | 1 | 0.49 | 0.8 | 1.1
Colour | ≤15 | 6 | 6 | 12 | <4 | <4 | <4
Calcium | N/A | 2.9 | 7.3 | 4.7 | 13.5 | 6.5 | 8.5
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 30 | 52 | 44 | 58 | 50 | 538
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | <1 | <1 | <1 | <1 | <1 | <1.1
Aluminium | ≤300 | 45 | 52 | 67 | 101 | 71 | 57
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WWTW Tap
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 6.87 | 9.11 | 6.98 | 9.31 | 10 | 9.5
Conductivity | ≤170 | 5.1 | 6.9 | 5.8 | 8.2 | 9.4 | 80.6
Turbidity | ≤5 | 0.88 | 0.55 | 0.74 | 0.47 | 0.58 | 0.64
Colour | ≤15 | 7 | 7 | 11 | <4 | 4 | 4
Calcium | N/A | 3.1 | 6.6 | 3.5 | 10.9 | 7.8 | 8.5
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 36 | 46 | 40 | 50 | 62 | 526
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | <1 | <1 | <1 | <1 | <1 | <1.1
Aluminium | ≤300 | <40 | 40 | 42 | 63 | 86 | 53
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WTW Final
Date
| Range | 2023-07-06: 2023-07-20; 2023-07-20: 2023-08-17; 2023-08-03: 2023-09-21
pH | ≤5 - ≤9.7 | 2023-07-06: 8.89; 2023-07-20: 9.8; 2023-08-03: 6.85
Conductivity | ≤170 | 2023-07-06: 7; 2023-07-20: 9.4; 2023-08-03: 56.8
Turbidity | ≤5 | 2023-07-06: 1.2; 2023-07-20: 0.89; 2023-08-03: 0.96
Colour | ≤15 | 2023-07-06: 5; 2023-07-20: <4; 2023-08-03: <4
Calcium | N/A | 2023-07-06: 7.2; 2023-07-20: 13.8; 2023-08-03: 5.3
Chloride | ≤300 | bar: 2023-07-06 to 2023-08-03
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-08-03
Dissolved solids | ≤1200 | 2023-07-06: 46; 2023-07-20: 60; 2023-08-03: 388
Iron | N/A | bar: 2023-07-06 to 2023-08-03
Magnesium | N/A | 2023-07-06: <1; 2023-07-20: <1; 2023-08-03: <1.1
Aluminium | ≤300 | 2023-07-06: 67; 2023-07-20: 79; 2023-08-03: 50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## DKB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Dwarskersbos - Reservoir
Date
| Range | 2023-07-06 | 2023-07-20 | 2023-08-03 | 2023-08-17 | 2023-09-07 | 2023-09-21
pH | ≤5 - ≤9.7 | 7.08 | 7.21 | 8.11 | 6.99 | 8.04 | 8.2
Conductivity | ≤170 | 53 | 43.3 | 79.7 | 77.8 | 74.4 | 61.5
Turbidity | ≤5 | 0.63 | 0.75 | 0.34 | 0.76 | 0.56 | 0.33
Colour | ≤15 | <4 | <4 | 7 | <4 | 6 | 4
Calcium | N/A | 20.6 | 19.8 | 23.3 | 30.1 | 17.7 | 15.7
Chloride | ≤300 | bar: 2023-07-06 to 2023-09-21
Flouride | ≤1.5 | bar: 2023-07-06 to 2023-09-21
Dissolved solids | ≤1200 | 346 | 278 | 520 | 510 | 492 | 410
Iron | N/A | bar: 2023-07-06 to 2023-09-21
Magnesium | N/A | 9.4 | 8.5 | 17.4 | 22.5 | 13 | 12.4
Aluminium | ≤300 | <40 | <40 | <40 | 72 | <40 | 54
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected